## Circuit Outage
Circuit Number | Circuit Name | Outage Date | Outage CauseCode | Outage Cause | Outage Duration (min) | Customers Affected
1 | Orange | 2024-01-05 | 8 | Other | 837 | 376
1 | Orange | 2024-08-27 | 3 | Weather | 515 | 1299
1 | Orange | 2024-11-10 | 4 | Third Party | 1169 | 862
2 | Alabama | 2024-03-13 | 1 | UG Equipment Failure | 227 | 1399
2 | Alabama | 2024-03-15 | 1 | UG Equipment Failure | 19 | 3198
2 | Alabama | 2024-07-20 | 1 | UG Equipment Failure | 520 | 2014
2 | Alabama | 2024-07-27 | 4 | Third Party | 1307 | 3249
3 | Green | 2024-04-22 | 1 | UG Equipment Failure | 1053 | 1052
3 | Green | 2024-06-02 | 1 | UG Equipment Failure | 1224 | 1798
3 | Green | 2024-09-20 | 8 | Other | 912 | 1820
3 | Green | 2024-10-06 | 3 | Weather | 1168 | 596
3 | Green | 2024-10-30 | 1 | UG Equipment Failure | 695 | 2212
3 | Green | 2024-11-08 | 1 | UG Equipment Failure | 462 | 2621
4 | Oregon | 2024-01-05 | 3 | Weather | 1039 | 353
4 | Oregon | 2024-05-10 | 7 | OH Equipment Failure | 185 | 607
4 | Oregon | 2024-07-14 | 4 | Third Party | 53 | 900
4 | Oregon | 2024-09-16 | 3 | Weather | 606 | 31
5 | Yellow | 2024-01-27 | 2 | Vegetation | 484 | 1089
5 | Yellow | 2024-01-29 | 8 | Other | 432 | 471
5 | Yellow | 2024-03-08 | 7 | OH Equipment Failure | 34 | 1166
5 | Yellow | 2024-04-09 | 6 | Operation | 615 | 944
5 | Yellow | 2024-05-25 | 3 | Weather | 777 | 210
5 | Yellow | 2024-06-27 | 7 | OH Equipment Failure | 1177 | 1160
5 | Yellow | 2024-08-31 | 6 | Operation | 1382 | 187
6 | Washington | 2024-02-24 | 3 | Weather | 1172 | 293
6 | Washington | 2024-03-01 | 5 | Animal | 868 | 1163
6 | Washington | 2024-08-16 | 4 | Third Party | 897 | 997
7 | Lincoln | 2024-03-25 | 4 | Third Party | 913 | 1381
7 | Lincoln | 2024-04-14 | 1 | UG Equipment Failure | 910 | 78
7 | Lincoln | 2024-05-12 | 6 | Operation | 368 | 889
7 | Lincoln | 2024-08-05 | 1 | UG Equipment Failure | 810 | 580
7 | Lincoln | 2024-08-19 | 1 | UG Equipment Failure | 608 | 722
7 | Lincoln | 2024-10-15 | 4 | Third Party | 563 | 113
8 | Johnson | 2024-04-03 | 7 | OH Equipment Failure | 1216 | 1110
8 | Johnson | 2024-05-15 | 4 | Third Party | 355 | 40
8 | Johnson | 2024-09-17 | 2 | Vegetation | 410 | 1639
9 | Magenta | 2024-02-29 | 7 | OH Equipment Failure | 79 | 1799
9 | Magenta | 2024-03-27 | 3 | Weather | 179 | 492
9 | Magenta | 2024-04-12 | 7 | OH Equipment Failure | 1234 | 1334
9 | Magenta | 2024-05-03 | 3 | Weather | 101 | 1036
9 | Magenta | 2024-05-06 | 7 | OH Equipment Failure | 1234 | 1470
9 | Magenta | 2024-05-19 | 8 | Other | 1229 | 2115
9 | Magenta | 2024-07-01 | 3 | Weather | 623 | 1033
9 | Magenta | 2024-07-04 | 4 | Third Party | 567 | 2144
9 | Magenta | 2024-08-14 | 6 | Operation | 971 | 550
9 | Magenta | 2024-12-04 | 5 | Animal | 1380 | 2278
10 | Adams | 2024-05-16 | 6 | Operation | 868 | 510
10 | Adams | 2024-07-14 | 2 | Vegetation | 669 | 444
11 | Roosevelt | 2024-04-16 | 1 | UG Equipment Failure | 292 | 50
11 | Roosevelt | 2024-07-07 | 1 | UG Equipment Failure | 1369 | 80
11 | Roosevelt | 2024-07-19 | 3 | Weather | 812 | 429
11 | Roosevelt | 2024-08-15 | 1 | UG Equipment Failure | 1283 | 284
11 | Roosevelt | 2024-11-13 | 6 | Operation | 743 | 201
11 | Roosevelt | 2024-12-06 | 5 | Animal | 1165 | 147
11 | Roosevelt | 2024-12-11 | 6 | Operation | 1401 | 414
11 | Roosevelt | 2024-12-13 | 1 | UG Equipment Failure | 1198 | 187
11 | Roosevelt | 2024-12-17 | 8 | Other | 962 | 422
12 | Jefferson | 2024-01-02 | 1 | UG Equipment Failure | 1424 | 949
12 | Jefferson | 2024-03-27 | 2 | Vegetation | 382 | 577
12 | Jefferson | 2024-09-25 | 4 | Third Party | 940 | 1123
13 | Gorilla | 2024-03-25 | 7 | OH Equipment Failure | 70 | 2486
13 | Gorilla | 2024-05-11 | 4 | Third Party | 1314 | 386 | #REF!
13 | Gorilla | 2024-05-13 | 7 | OH Equipment Failure | 139 | 211 | #REF!
13 | Gorilla | 2024-05-29 | 8 | Other | 679 | 2360
13 | Gorilla | 2024-06-02 | 3 | Weather | 743 | 1692
13 | Gorilla | 2024-06-11 | 1 | UG Equipment Failure | 414 | 513
13 | Gorilla | 2024-07-17 | 7 | OH Equipment Failure | 1326 | 228
13 | Gorilla | 2024-10-03 | 7 | OH Equipment Failure | 321 | 1623
13 | Gorilla | 2024-12-28 | 8 | Other | 310 | 1329
14 | Blue Jay | 2024-05-10 | 5 | Animal | 411 | 1962
15 | Thunder | 2024-04-15 | 4 | Third Party | 1392 | 218
15 | Thunder | 2024-07-23 | 1 | UG Equipment Failure | 1291 | 3098
16 | Lightning | 2024-04-01 | 8 | Other | 72 | 1201
17 | Hoover | 2024-01-08 | 6 | Operation | 1153 | 190
17 | Hoover | 2024-03-28 | 1 | UG Equipment Failure | 570 | 89
17 | Hoover | 2024-04-06 | 1 | UG Equipment Failure | 434 | 1274
17 | Hoover | 2024-05-26 | 8 | Other | 1222 | 500
17 | Hoover | 2024-06-09 | 5 | Animal | 1113 | 273
17 | Hoover | 2024-11-28 | 1 | UG Equipment Failure | 63 | 1243
17 | Hoover | 2024-12-09 | 1 | UG Equipment Failure | 1363 | 1461
18 | Monterey | 2024-01-20 | 8 | Other | 1014 | 466
18 | Monterey | 2024-08-15 | 1 | UG Equipment Failure | 217 | 528
19 | Logan | 2024-01-12 | 6 | Operation | 900 | 1595
19 | Logan | 2024-01-15 | 6 | Operation | 1207 | 2163
19 | Logan | 2024-01-22 | 7 | OH Equipment Failure | 555 | 761
19 | Logan | 2024-02-28 | 3 | Weather | 781 | 1022
19 | Logan | 2024-03-09 | 4 | Third Party | 972 | 2063
19 | Logan | 2024-06-21 | 7 | OH Equipment Failure | 407 | 860
19 | Logan | 2024-08-24 | 5 | Animal | 839 | 1863
19 | Logan | 2024-09-08 | 2 | Vegetation | 315 | 1628
19 | Logan | 2024-12-09 | 7 | OH Equipment Failure | 781 | 1263
19 | Logan | 2024-12-23 | 7 | OH Equipment Failure | 54 | 904
20 | Grand | 2024-05-07 | 7 | OH Equipment Failure | 975 | 243
21 | Dinan | 2024-01-30 | 8 | Other | 384 | 1674
21 | Dinan | 2024-04-10 | 1 | UG Equipment Failure | 1305 | 903
21 | Dinan | 2024-04-14 | 7 | OH Equipment Failure | 758 | 2475
21 | Dinan | 2024-04-24 | 4 | Third Party | 727 | 1043
21 | Dinan | 2024-05-28 | 1 | UG Equipment Failure | 31 | 2562
21 | Dinan | 2024-07-29 | 4 | Third Party | 1221 | 644
21 | Dinan | 2024-10-17 | 5 | Animal | 568 | 1287

## LookUp
Circuit Number | Circuit Name | KV | Region | Customer Count | Circuit Miles | % Overhead | % Underground | 2023 SAIDI | 2023 SAIFI | Outage Cause Code | Outage Cause
1 | Orange | 4 | Coastal | 1299 | 45 | 90 | 10 | 1.68 | 0.002 | 1 | UG Equipment Failure
2 | Alabama | 12 | North | 3447 | 29 | 82 | 18 | 0.57 | 0.001 | 2 | Vegetation
3 | Green | 12 | Coastal | 2701 | 26 | 55 | 45 | 2.4 | 0.002 | 3 | Weather
4 | Oregon | 16 | Desert | 1147 | 101 | 85 | 15 | 1.39 | 0.002 | 4 | Third Party
5 | Yellow | 4 | North | 1706 | 43 | 85 | 15 | 2.2 | 0.005 | 5 | Animal
6 | Washington | 12 | North | 1312 | 38 | 18 | 82 | 1.79 | 0.002 | 6 | Operation
7 | Lincoln | 16 | Mountain | 1634 | 95 | 65 | 35 | 2.4 | 0.004 | 7 | OH Equipment Failure
8 | Johnson | 16 | Mountain | 1641 | 64 | 60 | 40 | 0.91 | 0.001 | 8 | Other
9 | Magenta | 16 | Mountain | 2367 | 129 | 75 | 25 | 3.77 | 0.006
10 | Adams | 4 | Desert | 1647 | 32 | 77 | 23 | 1.08 | 0.001
11 | Roosevelt | 12 | Coastal | 441 | 32 | 72 | 28 | 13.65 | 0.012
12 | Jefferson | 12 | Coastal | 1414 | 22 | 88 | 12 | 1.88 | 0.003
13 | Gorilla | 16 | Desert | 2640 | 47 | 38 | 62 | 1.63 | 0.004
14 | Blue Jay | 16 | Desert | 3065 | 119 | 90 | 10 | 0.13 | 0.001
15 | Thunder | 16 | Mountain | 3945 | 72 | 85 | 15 | 0.74 | 0.001
16 | Lightning | 4 | Mountain | 3591 | 18 | 85 | 15 | 0.02 | 0.001
17 | Hoover | 12 | North | 2610 | 112 | 66 | 34 | 2.18 | 0.003
18 | Monterey | 16 | Desert | 2394 | 85 | 65 | 35 | 0.62 | 0.001
19 | Logan | 16 | North | 3220 | 45 | 60 | 40 | 1.75 | 0.002
20 | Grand | 4 | Mountain | 500 | 11 | 90 | 10 | 1.73 | 0.001
21 | Dinan | 12 | Coastal | 2600 | 109 | 55 | 45 | 2.09 | 0.001